## Slide 1
Simulation von Störungen im Signalpfad eines Magnetresonanztomographen
Bachelorarbeit Marvin Noll

## Slide 2: Inhalt
Grundlagen MRT
Grundlagen Phasenrauschen
MRiLab
Phasenrauschsimulationen

## Slide 3
Grundlagen und Theorie

## Slide 4: Kernspins im Magnetfeld (1)

## Slide 5: Kernspins im Magnetfeld (2)
Transversale Relaxation (Zeitkonstante T2)
Longitudinale Relaxation (Zeitkonstante T1)

## Slide 6: NMR & MRI
BioSpec 117/16USR
ppm
NMR-Spektrum
MRI-Schnittbild

## Slide 7: MRT: Magnetresonanztomographie
RF
B0
Gy
Gx
RF
Gy
Gx
k-Raum
Schnittbild

## Slide 8: MRT-Pulssequenzen
Spinecho-Sequenz
EPI-Sequenz

## Slide 9: Gemeinsame Aquisitionselektronik NMR/MRT bei Bruker BioSpin (1)

## Slide 10: Gemeinsame Aquisitionselektronik NMR/MRT bei Bruker BioSpin (2)

## Slide 11: Phasenrauschen (1)
f
f0
f
f0

## Slide 12: Phasenrauschen (2)
1139-2008 - IEEE Standard Definitions of Physical Quantities for Fundamental Frequency and Time Metrology - Random Instabilities

## Slide 13: Jitter

## Slide 14
MRiLab

## Slide 15: MRiLab (1)
F. Liu, J.V. Velikina, W.F. Block, R. Kijowski, A.A. Samsonov. Fast Realistic MRI Simulations Based on Generalized Multi-Pool Exchange Tissue Model. IEEE Transactions on Medical Imaging

## Slide 16: MRiLab (2)

## Slide 17: Phantomerstellung
2D-CAD
3D-CAD
.stl
.png Stack
MATLAB .mat
MRiLab Phantom

## Slide 18
Phasenrauschsimulation

## Slide 19: LMK04821 in MRT (1)
Gradientenspulen

## Slide 20: LMK04821 in MRT (2)
Spinecho-Sequenz
EPI-Sequenz
Rekonstruierte MRT-Schnittbilder

## Slide 21: LMK04821 in MRT (3)
Spinecho-Sequenz
EPI-Sequenz
Differenz zwischen rekonstruierten Bildern X und den Phantomdaten R

## Slide 22: Einschub: Bildqualitätsmetriken
MSE
PSNR
SSIM
CW-SSIM
M-SSIM
MS-SSIM
IW-SSIM
BRISQUE
NIQE
PIQE
Full Reference (FR)
No Reference (NR)
entropy

## Slide 23: LMK04821 in MRT (4)
Spinecho-Sequenz
EPI-Sequenz
MSE: 0.00572
SSIM: 0.6109
MSE: 0.008520
SSIM: 0.655

## Slide 24: Reines (1/f)-Phasenrauschen (1)
Spinecho-Sequenz
EPI-Sequenz

## Slide 25: Reines (1/f)-Phasenrauschen (2)
Spinecho-Sequenz
EPI-Sequenz
MSE: 0.0041
SSIM: 0.7079
MSE: 0.0541
SSIM: 0.4758

## Slide 26: Vielen Dank!

## Slide 27: Ergänzungen (1)
MRiLab
phantom
data in
reconstructed image out
Image
Reconst.
add amplitude noise
MR sequence
Bloch solver (CPU)
Bloch solver (GPU)
dB
Hz
10k
100k
1M
10M
phase noise spectrum
-120
-130
-140
t
white noise (randn())
n(t)
t
„colored“ noise
φ(t)
exp(-j φ)
MATLAB
C++/CUDA
cmplx
to
Re/Im
Re/Im to cmplx
Sx
Sy
S‘x
S‘y